## 4th_measur_H2O2_removed_
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 2001011617 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2023-03-31
Time: | 1:48:35 PM
System |  |  |  | BIOCNB-01294W
User |  |  |  | BIOCNB-01294W\Administrator
Plate |  |  |  | Thermo Fisher Scientific-Nunclon 96 Flat Bottom Black Polystyrene Cat. No.: 137101/137103/237105/237107/237108/437111/437112 [NUN96fb.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 530 | nm
Emission Wavelength |  |  |  | 590 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 63 | Calculated From: E2 (100%)
Number of Flashes |  |  |  | 10
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Calculated From: E2) |  |  |  | 17423 | µm
Start Time: | 3/31/2023 1:49:19 PM
Temperature: 33.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2968 | 2911 | 2846 | 11715 | 11974 | 11528 | 12195 | 12941 | 12413 | 8198 | 8860 | 8971
B | 14561 | 14844 | 14858 | 16867 | 15299 | 14654 | 11920 | 10952 | 10011 | 10681 | 10708 | 10451
C | 26541 | 26882 | 27017 | 10859 | 10333 | 10905 | 11253 | 11132 | 16294 | 19397 | 23672 | 27001
D | 35088 | 34612 | 36182 | 11874 | 12359 | 12168 | 11383 | 11307 | 20611 | 6181 | 9491 | 5372
E | 45828 | 43729 | 48281 | 11990 | 11175 | 11312 | 8786 | 9044 | 17938 | 3 | 2 | 2
F | 17146 | 18537 | 15263 | 12439 | 12736 | 12533 | 11106 | 14115 | 13636 | 19008 | 19692 | 19063
G | 10200 | 12187 | 12204 | 7947 | 8004 | 8159 | 8173 | 8652 | 8103 | 30467 | 31634 | 31314
H | 10098 | 9166 | 9058 | 10935 | 10969 | 10788 | 9988 | 9297 | 12543 | 37057 | 38248 | 39350
End Time: | 3/31/2023 1:49:58 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) LUM, V_2.20_02/2015_LUMINESCENCE (Feb 24 2015/16.09.02) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## third_meas_bubbles_remov_ex_530
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 2001011617 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2023-03-31
Time: | 1:44:19 PM
System |  |  |  | BIOCNB-01294W
User |  |  |  | BIOCNB-01294W\Administrator
Plate |  |  |  | Thermo Fisher Scientific-Nunclon 96 Flat Bottom Black Polystyrene Cat. No.: 137101/137103/237105/237107/237108/437111/437112 [NUN96fb.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 530 | nm
Emission Wavelength |  |  |  | 590 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 63 | Calculated From: E2 (100%)
Number of Flashes |  |  |  | 10
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Calculated From: E2) |  |  |  | 17423 | µm
Start Time: | 3/31/2023 1:45:02 PM
Temperature: 34.1 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2804 | 2745 | 2680 | 11353 | 11670 | 11219 | 11923 | 12749 | 12305 | 7987 | 8650 | 11100
B | 14926 | 14767 | 14775 | 16206 | 15161 | 14507 | 12987 | 10820 | 9803 | 10329 | 10442 | 10154
C | 26245 | 26787 | 26932 | 10680 | 10097 | 10762 | 11502 | 10913 | 16026 | 19246 | 23505 | 26920
D | 35120 | 34881 | 35906 | 12320 | 12195 | 11928 | 11059 | 12195 | 20561 | OVER | OVER | OVER
E | 45912 | 43801 | 48330 | 11465 | 10928 | 13237 | 8597 | 8818 | 18139 | 2 | 2 | 2
F | 16329 | 18623 | 15048 | 12257 | 12586 | 12296 | 11402 | 14417 | 13502 | 18873 | 19200 | 19219
G | 9996 | 12039 | 12053 | 7797 | 7781 | 7933 | 8070 | 8500 | 7876 | 30785 | 31678 | 31230
H | 9863 | 8927 | 8884 | 10768 | 10762 | 10556 | 9832 | 9177 | 12476 | 37357 | 38836 | 39554
End Time: | 3/31/2023 1:45:42 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) LUM, V_2.20_02/2015_LUMINESCENCE (Feb 24 2015/16.09.02) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## second_measurement_ex_560
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 2001011617 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2023-03-31
Time: | 1:40:01 PM
System |  |  |  | BIOCNB-01294W
User |  |  |  | BIOCNB-01294W\Administrator
Plate |  |  |  | Thermo Fisher Scientific-Nunclon 96 Flat Bottom Black Polystyrene Cat. No.: 137101/137103/237105/237107/237108/437111/437112 [NUN96fb.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 560 | nm
Emission Wavelength |  |  |  | 590 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 65 | Calculated From: E2 (100%)
Number of Flashes |  |  |  | 10
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Calculated From: E2) |  |  |  | 17423 | µm
Start Time: | 3/31/2023 1:40:45 PM
Temperature: 35.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2497 | 2412 | 2351 | 10361 | 10629 | 10226 | 10877 | 11753 | 11373 | 7131 | 7838 | 11938
B | 13835 | 13652 | 13757 | 15117 | 18292 | 13284 | 12158 | 11976 | 9015 | 9346 | 11831 | 9159
C | 24229 | 24851 | 24780 | 9689 | 9283 | 9697 | 10652 | 9993 | 16257 | 17697 | 21618 | 24791
D | 32438 | 31842 | 33263 | 11337 | 11230 | 13288 | 10192 | 11315 | 19002 | OVER | OVER | OVER
E | 41981 | 40040 | 43734 | 12259 | 10074 | 12281 | 8927 | 8108 | 16229 | 6 | 5 | 7
F | 15025 | 16169 | 13900 | 11223 | 11581 | 12375 | 10544 | 13384 | 17127 | 17148 | 17784 | 17319
G | 9164 | 11106 | 11028 | 7109 | 7102 | 8029 | 7298 | 7807 | 11791 | 27852 | 29236 | 28350
H | 9758 | 8268 | 8198 | 10014 | 9940 | 9855 | 9148 | 8450 | 14443 | 34434 | 35653 | 36450
End Time: | 3/31/2023 1:41:25 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) LUM, V_2.20_02/2015_LUMINESCENCE (Feb 24 2015/16.09.02) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## first_measurement_ex_530
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 2001011617 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2023-03-31
Time: | 1:36:49 PM
System |  |  |  | BIOCNB-01294W
User |  |  |  | BIOCNB-01294W\Administrator
Plate |  |  |  | Thermo Fisher Scientific-Nunclon 96 Flat Bottom Black Polystyrene Cat. No.: 137101/137103/237105/237107/237108/437111/437112 [NUN96fb.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 530 | nm
Emission Wavelength |  |  |  | 590 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 63 | Calculated From: E2 (100%)
Number of Flashes |  |  |  | 10
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Calculated From: E2) |  |  |  | 17423 | µm
Start Time: | 3/31/2023 1:37:35 PM
Temperature: 36.8 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2504 | 2477 | 2400 | 10965 | 11201 | 10819 | 11417 | 12512 | 12020 | 7469 | 8218 | 12916
B | 14786 | 14430 | 14533 | 16454 | 19568 | 14015 | 13036 | 12630 | 11710 | 9778 | 12139 | 9374
C | 26644 | 26706 | 26772 | 10178 | 9664 | 10219 | 11316 | 10381 | 17121 | 18538 | 22674 | 29742
D | 34787 | 34522 | 36115 | 11705 | 11780 | 13846 | 10727 | 12002 | 20467 | OVER | OVER | OVER
E | 45944 | 45306 | 47926 | 13136 | 10510 | 12936 | 9329 | 8495 | 13510 | 2 | 2 | 2
F | 16049 | 20634 | 14646 | 11869 | 12247 | 13167 | 11107 | 13985 | 18725 | 17944 | 18679 | 18013
G | 9618 | 11648 | 11624 | 7423 | 7363 | 8638 | 9788 | 9862 | 12110 | 29230 | 30576 | 29423
H | 10219 | 8584 | 8490 | 10335 | 10410 | 10280 | 9489 | 8723 | 7675 | 37056 | 38273 | 38711
End Time: | 3/31/2023 1:38:14 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) LUM, V_2.20_02/2015_LUMINESCENCE (Feb 24 2015/16.09.02) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## key_first
First measurement
2504 | 2477 | 2400 | 10965 | 11201 | 10819 | 11417 | 12512 | 12020 | 7469 | 8218 | 12916
14786 | 14430 | 14533 | 16454 | 19568 | 14015 | 13036 | 12630 | 11710 | 9778 | 12139 | 9374
26644 | 26706 | 26772 | 10178 | 9664 | 10219 | 11316 | 10381 | 17121 | 18538 | 22674 | 29742
34787 | 34522 | 36115 | 11705 | 11780 | 13846 | 10727 | 12002 | 20467 | OVER | OVER | OVER | Pos con
45944 | 45306 | 47926 | 13136 | 10510 | 12936 | 9329 | 8495 | 13510 | 2 | 2 | 2 | Res blank
16049 | 20634 | 14646 | 11869 | 12247 | 13167 | 11107 | 13985 | 18725 | 17944 | 18679 | 18013 | Resorufin 4
9618 | 11648 | 11624 | 7423 | 7363 | 8638 | 9788 | 9862 | 12110 | 29230 | 30576 | 29423 | Resorufin 12
10219 | 8584 | 8490 | 10335 | 10410 | 10280 | 9489 | 8723 | 7675 | 37056 | 38273 | 38711 | Resorufin 20
blank
Curves
Samples 1-3 | going down rows in triplicate
Samples 4-11
Samples 12-19
Samples 20-22
1uL plasma was diluted in 199uL 1X buffer; 50uL buffer added to well followed by 50uL working reagent

## Curves
Point | F1 | F2 | F3 | Blank | Avg_blank | Conc (ug/mL)
A | 45944 | 45306 | 47926 | 2460.3333 | 43931.6667 | 8
B | 34787 | 34522 | 36115 | 2460.3333 | 32681 | 6
C | 26644 | 26706 | 26772 | 2460.3333 | 24247 | 4
D | 14786 | 14430 | 14533 | 2460.3333 | 12122.6667 | 2
Blanks
2504 | 2477 | 2400
Resorufin stock
Point | F1 | F2 | F3 | Blank | Avg_blank | Conc (uM)
A | 37056 | 38273 | 38711 | 2 | 38011.3333 | 20
B | 29230 | 30576 | 29423 | 2 | 29741 | 12
C | 17944 | 18679 | 18013 | 2 | 18210 | 4
Blank | 2 | 2 | 2

## Samples
ug/mL = 0.0002*F-0.4159 | [6 empty] | 1:200 followed by 1:2 in 100uL total
[6 empty] | diluted (?) | undil
Sample | F1 | F2 | F3 | Blank | Avg_blank | Conc (ug/mL) | ug | DF | ug/uL plasma
1 | 16049 | 20634 | 14646 | 2460.3333 | 12887.1667 | 2.16 | 0.216 | 400 | 86.4
2 | 9618 | 11648 | 11624 | 2460.3333 | 8503 | 1.28 | 0.128 | 400 | 51.2
3 | 10219 | 8584 | 8490 | 2460.3333 | 6637.3333 | 0.91 | 0.091 | 400 | 36.4
4 | 10965 | 11201 | 10819 | 2460.3333 | 8534.6667 | 1.29 | 0.129 | 400 | 51.6
5 | 16454 | 19568 | 14015 | 2460.3333 | 12774.1667 | 2.14 | 0.214 | 400 | 85.6
6 | 10178 | 9664 | 10219 | 2460.3333 | 7560 | 1.1 | 0.11 | 400 | 44
7 | 11705 | 11780 | 13846 | 2460.3333 | 9983.3333 | 1.58 | 0.158 | 400 | 63.2
8 | 13136 | 10510 | 12936 | 2460.3333 | 9733.6667 | 1.53 | 0.153 | 400 | 61.2
9 | 11869 | 12247 | 13167 | 2460.3333 | 9967.3333 | 1.58 | 0.158 | 400 | 63.2
10 | 7423 | 7363 | 8638 | 2460.3333 | 5347.6667 | 0.65 | 0.065 | 400 | 26
11 | 10335 | 10410 | 10280 | 2460.3333 | 7881.3333 | 1.16 | 0.116 | 400 | 46.4
12 | 11417 | 12512 | 12020 | 2460.3333 | 9522.6667 | 1.49 | 0.149 | 400 | 59.6
13 | 13036 | 12630 | 11710 | 2460.3333 | 9998.3333 | 1.58 | 0.158 | 400 | 63.2
14 | 11316 | 10381 | 17121 | 2460.3333 | 8388.1667 | 1.26 | 0.126 | 400 | 50.4
15 | 10727 | 12002 | 20467 | 2460.3333 | 8904.1667 | 1.36 | 0.136 | 400 | 54.4
16 | 9329 | 8495 | 13510 | 2460.3333 | 7984.3333 | 1.18 | 0.118 | 400 | 47.2
17 | 11107 | 13985 | 18725 | 2460.3333 | 10085.6667 | 1.6 | 0.16 | 400 | 64
18 | 9788 | 9862 | 12110 | 2460.3333 | 8126.3333 | 1.21 | 0.121 | 400 | 48.4
19 | 9489 | 8723 | 7675 | 2460.3333 | 6168.6667 | 0.82 | 0.082 | 400 | 32.8
20 | 7469 | 8218 | 12916 | 2460.3333 | 7074 | 1 | 0.1 | 400 | 40
21 | 9778 | 12139 | 9374 | 2460.3333 | 7970 | 1.18 | 0.118 | 400 | 47.2
22 | 18538 | 22674 | 29742 | 2460.3333 | 18145.6667 | 3.21 | 0.321 | 400 | 128.4

## Final
Sample | Genotype | Temp | F1 | F2 | F3 | Blank | Avg_blank | Conc_ug_mL | ug_uL_plasma
1 | Con | RT | 16049 | 20634 | 14646 | 2460.3333 | 12887.1667 | 2.16 | 86.4
2 | Con | RT | 9618 | 11648 | 11624 | 2460.3333 | 8503 | 1.28 | 51.2
3 | Con | RT | 10219 | 8584 | 8490 | 2460.3333 | 6637.3333 | 0.91 | 36.4
4 | Con | RT | 10965 | 11201 | 10819 | 2460.3333 | 8534.6667 | 1.29 | 51.6
5 | Con | RT | 16454 | 19568 | 14015 | 2460.3333 | 12774.1667 | 2.14 | 85.6
6 | Con | Cold | 10178 | 9664 | 10219 | 2460.3333 | 7560 | 1.1 | 44
7 | Con | Cold | 11705 | 11780 | 13846 | 2460.3333 | 9983.3333 | 1.58 | 63.2
8 | Con | Cold | 13136 | 10510 | 12936 | 2460.3333 | 9733.6667 | 1.53 | 61.2
9 | Con | Cold | 11869 | 12247 | 13167 | 2460.3333 | 9967.3333 | 1.58 | 63.2
10 | Con | Cold | 7423 | 7363 | 8638 | 2460.3333 | 5347.6667 | 0.65 | 26
11 | KD | RT | 10335 | 10410 | 10280 | 2460.3333 | 7881.3333 | 1.16 | 46.4
12 | KD | RT | 11417 | 12512 | 12020 | 2460.3333 | 9522.6667 | 1.49 | 59.6
13 | KD | RT | 13036 | 12630 | 11710 | 2460.3333 | 9998.3333 | 1.58 | 63.2
14 | KD | RT | 11316 | 10381 | 17121 | 2460.3333 | 8388.1667 | 1.26 | 50.4
15 | KD | RT | 10727 | 12002 | 20467 | 2460.3333 | 8904.1667 | 1.36 | 54.4
16 | KD | RT | 9329 | 8495 | 13510 | 2460.3333 | 7984.3333 | 1.18 | 47.2
17 | KD | Cold | 11107 | 13985 | 18725 | 2460.3333 | 10085.6667 | 1.6 | 64
18 | KD | Cold | 9788 | 9862 | 12110 | 2460.3333 | 8126.3333 | 1.21 | 48.4
19 | KD | Cold | 9489 | 8723 | 7675 | 2460.3333 | 6168.6667 | 0.82 | 32.8
20 | KD | Cold | 7469 | 8218 | 12916 | 2460.3333 | 7074 | 1 | 40
21 | KD | Cold | 9778 | 12139 | 9374 | 2460.3333 | 7970 | 1.18 | 47.2
22 | KD | Cold | 18538 | 22674 | 29742 | 2460.3333 | 18145.6667 | 3.21 | 128.4